INTOCHEMISTRY  •  GENERAL CHEMISTRY

# Laboratory Measurement, Precision & Error

INSTRUCTOR / SELF-STUDY ANSWER KEY

Answers and reasoning appear in red. Use these to discuss why incorrect choices are incorrect.

# Part A — Concept checks

1.  Measurements clustered together but far from a reference are…

Answer: B. precise but inaccurate  —  Repeatability can be high despite systematic bias.

2.  What is percent error when measured = 9.0 and accepted = 10.0?

Answer: C. 10%  —  |9 − 10|/10 × 100% = 10%.

3.  Which is an example of systematic error?

Answer: B. consistent zero offset in a balance  —  A systematic offset creates repeatable bias.

4.  Which record best preserves an electronic balance display of 2.340 g?

Answer: D. 2.340 g  —  Record the digits actually displayed, when the reading is stable.

5.  Which is a measure of repeatability?

Answer: A. precision  —  Precision concerns the spread of repeated measurements.

6.  Why should raw laboratory data be preserved?

Answer: B. to permit transparent analysis and correction  —  Traceable raw data support reproducible evaluation.

# Part B — Application and explanation

7.  A measured density is 0.980 g/mL and the accepted value is 1.000 g/mL. Find percent error.

Model solution: Percent error = |0.980 − 1.000| / 1.000 × 100% = 2.0%. Final answer: 2.0%

8.  Explain why this guideline matters, with an example of what could go wrong if you ignore it: Do not confuse uncertainty with an excuse to edit observations. Always preserve raw readings and document any correction.

Model explanation: Do not confuse uncertainty with an excuse to edit observations. Always preserve raw readings and document any correction. Example/check: Record all certain digits plus one estimated digit for an analog scale when appropriate. Digital displays report the instrument resolution.

## REFERENCE RELATIONSHIP

percent error = |experimental − accepted| / |accepted| × 100%